## OAT
| area | average_storey_height | number_of_chimneys_main_heating | number_of_chimneys_secondary_heating | number_of_chimneys_other | number_of_open_flues_main_heating | number_of_open_flues_secondary_heating | number_of_open_flues_other | number_of_intermittant_fans_total | number_of_passive_vents_total | number_of_flueless_gas_fires_total | air_permeability_value_q50 | number_of_storeys_in_the_dwelling | structural_infiltration | suspended_wooden_ground_floor_infiltration | no_draft_lobby_infiltration | percentage_of_windows_and_doors_draught_proofed | number_of_sides_on_which_dwelling_is_sheltered | monthly_average_wind_speed | mechanical_ventilation_air_change_rate_through_system | exhaust_air_heat_pump_using_Appendix_N | mechanical_ventilation_throughput_factor | efficiency_allowing_for_in_use_factor | solid_door_net_area | solid_door_u_value | semi_glazed_door_net_area | semi_glazed_door_u_value | window_net_area | window_u_value | roof_window_net_area | roof_window_u_value | basement_floor_net_area | basement_floor_u_value | basement_floor_heat_capacity | ground_floor_net_area | ground_floor_u_value | ground_floor_heat_capacity | exposed_floor_net_area | exposed_floor_u_value | exposed_floor_heat_capacity | basement_wall_gross_area | basement_wall_opening | basement_wall_u_value | basement_wall_heat_capacity | external_wall_gross_area | external_wall_opening | external_wall_u_value | external_wall_heat_capacity | roof_gross_area | roof_opening | roof_u_value | roof_heat_capacity | party_wall_net_area | party_wall_u_value | party_wall_heat_capacity | party_floor_net_area | party_floor_heat_capacity | party_ceiling_net_area | party_ceiling_heat_capacity | internal_wall_net_area | internal_wall_heat_capacity | internal_floor_net_area | internal_floor_heat_capacity | internal_ceiling_net_area | internal_ceiling_heat_capacity | thermal_bridges_appendix_k | assumed_occupancy | V_dm_table_1c | T_table_1d | water_storage_loss_manufacturer | temperature_factor_table_2b | storage_volume_litres | hot_water_storage_loss_table_2 | volume_factor_table_2a | Vs_appendix_G3 | primary_circuit_loss_table_3 | combi_loss_table_3 | solar_DHW_input_appendix_G | number_of_low_energy_light_bulbs | total_number_of_light_bulbs | frame_factor | window_area | light_access_factor_table_6d | light_transmittance_factor_table_6d | pumps_and_fans_gains | solar_radiation_horizontal_plane_monthly_table_U3 | solar_declination_monthly_table_U3 | location_latitude_table_U4 | p_tilt | access_factor_table_6d_north | access_factor_table_6d_north_east | access_factor_table_6d_east | access_factor_table_6d_south_east | access_factor_table_6d_south | access_factor_table_6d_south_west | access_factor_table_6d_west | access_factor_table_6d_north_west | access_factor_table_6d_roof_windows | area_north | area_north_east | area_east | area_south_east | area_south | area_south_west | area_west | area_north_west | area_roof_windows | g_table_6b_north | g_table_6b_north_east | g_table_6b_east | g_table_6b_south_east | g_table_6b_south | g_table_6b_south_west | g_table_6b_west | g_table_6b_north_west | g_table_6b_roof_windows | FF_table_6b_north | FF_table_6b_north_east | FF_table_6b_east | FF_table_6b_south_east | FF_table_6b_south | FF_table_6b_south_west | FF_table_6b_west | FF_table_6b_north_west | FF_table_6b_roof_windows | temperature_during_heating_living_room | monthly_external_temperature_table_U1 | hours_heating_is_off_1_weekday_living_room | hours_heating_is_off_2_weekday_living_room | hours_heating_is_off_1_weekend_living_room | hours_heating_is_off_2_weekend_living_room | hours_heating_is_off_1_weekday_rest_of_dwelling | hours_heating_is_off_2_weekday_rest_of_dwelling | hours_heating_is_off_1_weekend_rest_of_dwelling | hours_heating_is_off_2_weekend_rest_of_dwelling | responsiveness_of_heating_system | living_room_area | temperature_adjustment_table_4e | efficiency_of_main_space_heating_system_1 | efficiency_of_main_space_heating_system_2 | efficiency_of_secondary_space_heating_system | efficiency_of_water_heater | efficiency_of_water_heater_adjustment_table_4c
-5% | 12165.4295 | 12164.6176 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12277.4672 | 12271.3804 | 12302.1938 | 12302.1938 | 12327.5267 | 12302.1938 | 12253.3482 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12243.374 | 12243.374 | 12302.1938 | 12302.1938 | 12220.7772 | 12220.7772 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12182.9471 | 12188.5002 | 12296.4709 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12221.3312 | 12320.5891 | 12265.5023 | 12276.3791 | 12285.081 | 12302.1938 | 12285.7622 | 12301.5097 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12299.9545 | 12299.9545 | 12300.9825 | 12300.9825 | 12301.5885 | 12301.5885 | 12206.3008 | 12302.2641 | 12215.9409 | 12215.9409 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12268.5035 | 12302.1938 | 12310.8935 | 12293.0463 | 12303.8534 | 12303.8534 | 12303.8534 | 12303.8534 | 12302.938 | 12357.5134 | 12308.9517 | 12346.9818 | 12254.4874 | 12322.4617 | 12302.1938 | 12302.1938 | 12302.1938 | 12332.4029 | 12302.1938 | 12306.9075 | 12302.1938 | 12302.1938 | 12322.4617 | 12302.1938 | 12302.1938 | 12302.1938 | 12332.4029 | 12302.1938 | 12306.9075 | 12302.1938 | 12302.1938 | 12322.4617 | 12302.1938 | 12302.1938 | 12302.1938 | 12332.4029 | 12302.1938 | 12306.9075 | 12302.1938 | 12302.1938 | 12322.4617 | 12302.1938 | 12302.1938 | 12302.1938 | 12332.4029 | 12302.1938 | 12306.9075 | 12302.1938 | 12302.1938 | 11276.6554 | 12651.5239 | 12313.765 | 12317.3074 | 12302.1938 | 12308.239 | 12343.0466 | 12355.5554 | 12302.1938 | 12323.5355 | 12206.0326 | 12287.5412 | 12302.1938 | 12842.7916 | 12302.1938 | 12302.1938 | 12354.202 | 12302.1938
-4% | 12192.711 | 12192.1786 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12282.3639 | 12277.4672 | 12302.1938 | 12302.1938 | 12322.4117 | 12302.1938 | 12262.9228 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12255.1463 | 12255.1463 | 12302.1938 | 12302.1938 | 12237.0765 | 12237.0765 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12206.8042 | 12211.27 | 12297.6194 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12237.5782 | 12316.9137 | 12272.8438 | 12281.6228 | 12288.5038 | 12302.1938 | 12289.0492 | 12301.6465 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12300.403 | 12300.403 | 12301.225 | 12301.225 | 12301.7096 | 12301.7096 | 12225.5015 | 12302.1246 | 12233.1811 | 12233.1811 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12275.2403 | 12302.1938 | 12309.1528 | 12294.9512 | 12303.5025 | 12303.5025 | 12303.5025 | 12303.5025 | 12302.7892 | 12346.4132 | 12307.6286 | 12338.4429 | 12263.899 | 12318.4012 | 12302.1938 | 12302.1938 | 12302.1938 | 12326.3527 | 12302.1938 | 12305.9645 | 12302.1938 | 12302.1938 | 12318.4012 | 12302.1938 | 12302.1938 | 12302.1938 | 12326.3527 | 12302.1938 | 12305.9645 | 12302.1938 | 12302.1938 | 12318.4012 | 12302.1938 | 12302.1938 | 12302.1938 | 12326.3527 | 12302.1938 | 12305.9645 | 12302.1938 | 12302.1938 | 12318.4012 | 12302.1938 | 12302.1938 | 12302.1938 | 12326.3527 | 12302.1938 | 12305.9645 | 12302.1938 | 12302.1938 | 11480.2066 | 12581.3052 | 12311.4981 | 12314.3465 | 12302.1938 | 12307.0547 | 12335.0425 | 12345.1001 | 12302.1938 | 12319.3544 | 12225.2419 | 12290.4714 | 12302.1938 | 12730.167 | 12302.1938 | 12302.1938 | 12343.3669 | 12302.1938
-3% | 12220.0304 | 12219.7167 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12287.285 | 12283.5919 | 12302.1938 | 12302.1938 | 12317.3209 | 12302.1938 | 12272.5947 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12266.9144 | 12266.9144 | 12302.1938 | 12302.1938 | 12253.3678 | 12253.3678 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12230.6575 | 12234.0243 | 12298.766 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12253.7872 | 12313.2364 | 12280.1838 | 12286.8256 | 12291.9265 | 12302.1938 | 12292.3358 | 12301.7834 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12300.8511 | 12300.8511 | 12301.4673 | 12301.4673 | 12301.8307 | 12301.8307 | 12244.6912 | 12302.0487 | 12250.4264 | 12250.4264 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12281.9778 | 12302.1938 | 12307.4125 | 12296.8172 | 12303.1611 | 12303.1611 | 12303.1611 | 12303.1611 | 12302.6403 | 12335.3312 | 12306.2912 | 12329.6968 | 12273.3779 | 12314.3442 | 12302.1938 | 12302.1938 | 12302.1938 | 12320.3067 | 12302.1938 | 12305.0215 | 12302.1938 | 12302.1938 | 12314.3442 | 12302.1938 | 12302.1938 | 12302.1938 | 12320.3067 | 12302.1938 | 12305.0215 | 12302.1938 | 12302.1938 | 12314.3442 | 12302.1938 | 12302.1938 | 12302.1938 | 12320.3067 | 12302.1938 | 12305.0215 | 12302.1938 | 12302.1938 | 12314.3442 | 12302.1938 | 12302.1938 | 12302.1938 | 12320.3067 | 12302.1938 | 12305.0215 | 12302.1938 | 12302.1938 | 11684.571 | 12511.2678 | 12309.2076 | 12311.3547 | 12302.1938 | 12305.8581 | 12326.9552 | 12334.5363 | 12302.1938 | 12315.1297 | 12244.4627 | 12293.4018 | 12302.1938 | 12619.8647 | 12302.1938 | 12302.1938 | 12332.7553 | 12302.1938
-2% | 12247.3856 | 12247.2319 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12292.2303 | 12289.7546 | 12302.1938 | 12302.1938 | 12312.2543 | 12302.1938 | 12282.3639 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12278.6784 | 12278.6784 | 12302.1938 | 12302.1938 | 12269.6511 | 12269.6511 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12254.5069 | 12256.763 | 12299.9106 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12269.9591 | 12309.5574 | 12287.5221 | 12291.9879 | 12295.349 | 12302.1938 | 12295.6221 | 12301.9202 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12301.299 | 12301.299 | 12301.7096 | 12301.7096 | 12301.9517 | 12301.9517 | 12263.8698 | 12302.0354 | 12267.677 | 12267.677 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12288.7158 | 12302.1938 | 12305.6726 | 12298.6456 | 12302.8291 | 12302.8291 | 12302.8291 | 12302.8291 | 12302.4915 | 12324.2673 | 12304.9395 | 12320.7412 | 12282.9216 | 12310.2906 | 12302.1938 | 12302.1938 | 12302.1938 | 12314.2648 | 12302.1938 | 12304.0788 | 12302.1938 | 12302.1938 | 12310.2906 | 12302.1938 | 12302.1938 | 12302.1938 | 12314.2648 | 12302.1938 | 12304.0788 | 12302.1938 | 12302.1938 | 12310.2906 | 12302.1938 | 12302.1938 | 12302.1938 | 12314.2648 | 12302.1938 | 12304.0788 | 12302.1938 | 12302.1938 | 12310.2906 | 12302.1938 | 12302.1938 | 12302.1938 | 12314.2648 | 12302.1938 | 12304.0788 | 12302.1938 | 12302.1938 | 11889.7095 | 12441.4075 | 12306.8933 | 12308.332 | 12302.1938 | 12304.649 | 12318.7846 | 12323.8639 | 12302.1938 | 12310.8614 | 12263.6949 | 12296.3323 | 12302.1938 | 12511.8133 | 12302.1938 | 12302.1938 | 12322.3602 | 12302.1938
-1% | 12274.774 | 12274.7243 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12297.1999 | 12295.9552 | 12302.1938 | 12302.1938 | 12307.2119 | 12302.1938 | 12292.2303 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12290.4382 | 12290.4382 | 12302.1938 | 12302.1938 | 12285.9264 | 12285.9264 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12278.3523 | 12279.4862 | 12301.0532 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12286.0943 | 12305.8765 | 12294.8587 | 12297.1105 | 12298.7715 | 12302.1938 | 12298.9081 | 12302.057 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12301.7466 | 12301.7466 | 12301.9517 | 12301.9517 | 12302.0728 | 12302.0728 | 12283.0373 | 12302.0841 | 12284.9328 | 12284.9328 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12295.4545 | 12302.1938 | 12303.933 | 12300.4374 | 12302.5067 | 12302.5067 | 12302.5067 | 12302.5067 | 12302.3426 | 12313.2215 | 12303.5737 | 12311.5742 | 12292.5278 | 12306.2405 | 12302.1938 | 12302.1938 | 12302.1938 | 12308.2272 | 12302.1938 | 12303.1362 | 12302.1938 | 12302.1938 | 12306.2405 | 12302.1938 | 12302.1938 | 12302.1938 | 12308.2272 | 12302.1938 | 12303.1362 | 12302.1938 | 12302.1938 | 12306.2405 | 12302.1938 | 12302.1938 | 12302.1938 | 12308.2272 | 12302.1938 | 12303.1362 | 12302.1938 | 12302.1938 | 12306.2405 | 12302.1938 | 12302.1938 | 12302.1938 | 12308.2272 | 12302.1938 | 12303.1362 | 12302.1938 | 12302.1938 | 12095.5919 | 12371.7185 | 12304.5554 | 12305.2784 | 12302.1938 | 12303.4276 | 12310.5308 | 12313.0831 | 12302.1938 | 12306.5494 | 12282.9387 | 12299.263 | 12302.1938 | 12405.9449 | 12302.1938 | 12302.1938 | 12312.1752 | 12302.1938
1% | 12329.6428 | 12329.6406 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12307.2119 | 12308.4703 | 12302.1938 | 12302.1938 | 12297.1999 | 12302.1938 | 12312.2543 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12313.9453 | 12313.9453 | 12302.1938 | 12302.1938 | 12318.4532 | 12318.4532 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12326.0313 | 12324.8859 | 12303.3325 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12318.2581 | 12298.5092 | 12309.5272 | 12307.2384 | 12305.616 | 12302.1938 | 12305.4791 | 12302.3305 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.6408 | 12302.6408 | 12302.4358 | 12302.4358 | 12302.3148 | 12302.3148 | 12321.3392 | 12302.3639 | 12319.4599 | 12319.4599 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12308.9337 | 12302.1938 | 12300.455 | 12303.9158 | 12301.8904 | 12301.8904 | 12301.8904 | 12301.8904 | 12302.045 | 12291.1843 | 12300.7997 | 12292.598 | 12311.9171 | 12298.1506 | 12302.1938 | 12302.1938 | 12302.1938 | 12296.1646 | 12302.1938 | 12301.2515 | 12302.1938 | 12302.1938 | 12298.1506 | 12302.1938 | 12302.1938 | 12302.1938 | 12296.1646 | 12302.1938 | 12301.2515 | 12302.1938 | 12302.1938 | 12298.1506 | 12302.1938 | 12302.1938 | 12302.1938 | 12296.1646 | 12302.1938 | 12301.2515 | 12302.1938 | 12302.1938 | 12298.1506 | 12302.1938 | 12302.1938 | 12302.1938 | 12296.1646 | 12302.1938 | 12301.2515 | 12302.1938 | 12302.1938 | 12509.4949 | 12232.8255 | 12299.8085 | 12299.0783 | 12302.1938 | 12300.9476 | 12293.7736 | 12291.1961 | 12302.1938 | 12297.7946 | 12321.4604 | 12305.1248 | 12302.1938 | 12200.4972 | 12302.1938 | 12302.1938 | 12292.4101 | 12302.1938
2% | 12357.1192 | 12357.0645 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12312.2543 | 12314.7846 | 12302.1938 | 12302.1938 | 12292.2303 | 12302.1938 | 12322.4117 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12325.6926 | 12325.6926 | 12302.1938 | 12302.1938 | 12334.7047 | 12334.7047 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12349.8649 | 12347.5625 | 12304.4692 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12334.2879 | 12294.8228 | 12316.8591 | 12312.2449 | 12309.0381 | 12302.1938 | 12308.7642 | 12302.4673 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12303.0874 | 12303.0874 | 12302.6777 | 12302.6777 | 12302.4358 | 12302.4358 | 12340.4736 | 12302.5936 | 12336.7312 | 12336.7312 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12315.6742 | 12302.1938 | 12298.7165 | 12305.6043 | 12301.5965 | 12301.5965 | 12301.5965 | 12301.5965 | 12301.8961 | 12280.1929 | 12299.3916 | 12282.7849 | 12321.6949 | 12294.1108 | 12302.1938 | 12302.1938 | 12302.1938 | 12290.1396 | 12302.1938 | 12300.3095 | 12302.1938 | 12302.1938 | 12294.1108 | 12302.1938 | 12302.1938 | 12302.1938 | 12290.1396 | 12302.1938 | 12300.3095 | 12302.1938 | 12302.1938 | 12294.1108 | 12302.1938 | 12302.1938 | 12302.1938 | 12290.1396 | 12302.1938 | 12300.3095 | 12302.1938 | 12302.1938 | 12294.1108 | 12302.1938 | 12302.1938 | 12302.1938 | 12290.1396 | 12302.1938 | 12300.3095 | 12302.1938 | 12302.1938 | 12717.4764 | 12163.6053 | 12297.3996 | 12295.932 | 12302.1938 | 12299.689 | 12285.2702 | 12280.09 | 12302.1938 | 12293.3518 | 12340.7384 | 12308.0559 | 12302.1938 | 12100.7946 | 12302.1938 | 12302.1938 | 12282.8182 | 12302.1938
3% | 12384.6212 | 12384.4658 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12317.3209 | 12321.1367 | 12302.1938 | 12302.1938 | 12287.285 | 12302.1938 | 12332.6659 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12337.4358 | 12337.4358 | 12302.1938 | 12302.1938 | 12350.9482 | 12350.9482 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12373.6945 | 12370.2236 | 12305.604 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12350.2837 | 12291.1346 | 12324.1893 | 12317.2137 | 12312.4601 | 12302.1938 | 12312.0489 | 12302.604 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12303.5337 | 12303.5337 | 12302.9195 | 12302.9195 | 12302.5568 | 12302.5568 | 12359.597 | 12302.8823 | 12354.0076 | 12354.0076 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12322.4153 | 12302.1938 | 12296.9785 | 12307.2605 | 12301.312 | 12301.312 | 12301.312 | 12301.312 | 12301.7473 | 12269.2196 | 12297.9694 | 12272.7529 | 12331.5247 | 12290.0745 | 12302.1938 | 12302.1938 | 12302.1938 | 12284.1188 | 12302.1938 | 12299.3675 | 12302.1938 | 12302.1938 | 12290.0745 | 12302.1938 | 12302.1938 | 12302.1938 | 12284.1188 | 12302.1938 | 12299.3675 | 12302.1938 | 12302.1938 | 12290.0745 | 12302.1938 | 12302.1938 | 12302.1938 | 12284.1188 | 12302.1938 | 12299.3675 | 12302.1938 | 12302.1938 | 12290.0745 | 12302.1938 | 12302.1938 | 12302.1938 | 12284.1188 | 12302.1938 | 12299.3675 | 12302.1938 | 12302.1938 | 12926.1191 | 12094.5252 | 12294.9669 | 12292.7547 | 12302.1938 | 12298.4181 | 12276.6837 | 12268.8756 | 12302.1938 | 12288.8654 | 12360.0278 | 12310.9872 | 12302.1938 | 12003.028 | 12302.1938 | 12302.1938 | 12273.4126 | 12302.1938
4% | 12412.147 | 12411.8444 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12322.4117 | 12327.5267 | 12302.1938 | 12302.1938 | 12282.3639 | 12302.1938 | 12343.0169 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12349.1748 | 12349.1748 | 12302.1938 | 12302.1938 | 12367.1837 | 12367.1837 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12397.5201 | 12392.8693 | 12306.7368 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12366.2463 | 12287.4444 | 12331.5179 | 12322.1454 | 12315.8819 | 12302.1938 | 12315.3332 | 12302.7406 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12303.9798 | 12303.9798 | 12303.1612 | 12303.1612 | 12302.6777 | 12302.6777 | 12378.7093 | 12303.2291 | 12371.2891 | 12371.2891 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12329.1569 | 12302.1938 | 12295.2408 | 12308.8851 | 12301.0371 | 12301.0371 | 12301.0371 | 12301.0371 | 12301.5984 | 12258.2646 | 12296.5332 | 12262.5001 | 12341.4036 | 12286.0416 | 12302.1938 | 12302.1938 | 12302.1938 | 12278.1023 | 12302.1938 | 12298.4257 | 12302.1938 | 12302.1938 | 12286.0416 | 12302.1938 | 12302.1938 | 12302.1938 | 12278.1023 | 12302.1938 | 12298.4257 | 12302.1938 | 12302.1938 | 12286.0416 | 12302.1938 | 12302.1938 | 12302.1938 | 12278.1023 | 12302.1938 | 12298.4257 | 12302.1938 | 12302.1938 | 12286.0416 | 12302.1938 | 12302.1938 | 12302.1938 | 12278.1023 | 12302.1938 | 12298.4257 | 12302.1938 | 12302.1938 | 13135.403 | 12025.5781 | 12292.5106 | 12289.5465 | 12302.1938 | 12297.1347 | 12268.0141 | 12257.5529 | 12302.1938 | 12284.3354 | 12379.3286 | 12313.9187 | 12302.1938 | 11907.1416 | 12302.1938 | 12302.1938 | 12264.1878 | 12302.1938
5% | 12439.6952 | 12439.2002 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12327.5267 | 12333.9545 | 12302.1938 | 12302.1938 | 12277.4672 | 12302.1938 | 12353.4645 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12360.9096 | 12360.9096 | 12302.1938 | 12302.1938 | 12383.4113 | 12383.4113 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12421.3417 | 12415.4994 | 12307.8677 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12382.1761 | 12283.7524 | 12338.8448 | 12327.0405 | 12319.3036 | 12302.1938 | 12318.6173 | 12302.8772 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12304.4255 | 12304.4255 | 12303.4029 | 12303.4029 | 12302.7986 | 12302.7986 | 12397.8107 | 12303.6334 | 12388.5757 | 12388.5757 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12335.8992 | 12302.1938 | 12293.5035 | 12310.479 | 12300.7717 | 12300.7717 | 12300.7717 | 12300.7717 | 12301.4496 | 12247.3276 | 12295.083 | 12252.0249 | 12351.3289 | 12282.0121 | 12302.1938 | 12302.1938 | 12302.1938 | 12272.0899 | 12302.1938 | 12297.4841 | 12302.1938 | 12302.1938 | 12282.0121 | 12302.1938 | 12302.1938 | 12302.1938 | 12272.0899 | 12302.1938 | 12297.4841 | 12302.1938 | 12302.1938 | 12282.0121 | 12302.1938 | 12302.1938 | 12302.1938 | 12272.0899 | 12302.1938 | 12297.4841 | 12302.1938 | 12302.1938 | 12282.0121 | 12302.1938 | 12302.1938 | 12302.1938 | 12272.0899 | 12302.1938 | 12297.4841 | 12302.1938 | 12302.1938 | 13345.306 | 11956.7585 | 12290.0306 | 12286.3075 | 12302.1938 | 12295.839 | 12259.2613 | 12246.1219 | 12302.1938 | 12279.7618 | 12398.6408 | 12316.8503 | 12302.1938 | 11813.0815 | 12302.1938 | 12302.1938 | 12255.1388 | 12302.1938
Base | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938 | 12302.1938

## OAT_CO2
| area | average_storey_height | number_of_chimneys_main_heating | number_of_chimneys_secondary_heating | number_of_chimneys_other | number_of_open_flues_main_heating | number_of_open_flues_secondary_heating | number_of_open_flues_other | number_of_intermittant_fans_total | number_of_passive_vents_total | number_of_flueless_gas_fires_total | air_permeability_value_q50 | number_of_storeys_in_the_dwelling | structural_infiltration | suspended_wooden_ground_floor_infiltration | no_draft_lobby_infiltration | percentage_of_windows_and_doors_draught_proofed | number_of_sides_on_which_dwelling_is_sheltered | monthly_average_wind_speed | mechanical_ventilation_air_change_rate_through_system | exhaust_air_heat_pump_using_Appendix_N | mechanical_ventilation_throughput_factor | efficiency_allowing_for_in_use_factor | solid_door_net_area | solid_door_u_value | semi_glazed_door_net_area | semi_glazed_door_u_value | window_net_area | window_u_value | roof_window_net_area | roof_window_u_value | basement_floor_net_area | basement_floor_u_value | basement_floor_heat_capacity | ground_floor_net_area | ground_floor_u_value | ground_floor_heat_capacity | exposed_floor_net_area | exposed_floor_u_value | exposed_floor_heat_capacity | basement_wall_gross_area | basement_wall_opening | basement_wall_u_value | basement_wall_heat_capacity | external_wall_gross_area | external_wall_opening | external_wall_u_value | external_wall_heat_capacity | roof_gross_area | roof_opening | roof_u_value | roof_heat_capacity | party_wall_net_area | party_wall_u_value | party_wall_heat_capacity | party_floor_net_area | party_floor_heat_capacity | party_ceiling_net_area | party_ceiling_heat_capacity | internal_wall_net_area | internal_wall_heat_capacity | internal_floor_net_area | internal_floor_heat_capacity | internal_ceiling_net_area | internal_ceiling_heat_capacity | thermal_bridges_appendix_k | assumed_occupancy | V_dm_table_1c | T_table_1d | water_storage_loss_manufacturer | temperature_factor_table_2b | storage_volume_litres | hot_water_storage_loss_table_2 | volume_factor_table_2a | Vs_appendix_G3 | primary_circuit_loss_table_3 | combi_loss_table_3 | solar_DHW_input_appendix_G | number_of_low_energy_light_bulbs | total_number_of_light_bulbs | frame_factor | window_area | light_access_factor_table_6d | light_transmittance_factor_table_6d | pumps_and_fans_gains | solar_radiation_horizontal_plane_monthly_table_U3 | solar_declination_monthly_table_U3 | location_latitude_table_U4 | p_tilt | access_factor_table_6d_north | access_factor_table_6d_north_east | access_factor_table_6d_east | access_factor_table_6d_south_east | access_factor_table_6d_south | access_factor_table_6d_south_west | access_factor_table_6d_west | access_factor_table_6d_north_west | access_factor_table_6d_roof_windows | area_north | area_north_east | area_east | area_south_east | area_south | area_south_west | area_west | area_north_west | area_roof_windows | g_table_6b_north | g_table_6b_north_east | g_table_6b_east | g_table_6b_south_east | g_table_6b_south | g_table_6b_south_west | g_table_6b_west | g_table_6b_north_west | g_table_6b_roof_windows | FF_table_6b_north | FF_table_6b_north_east | FF_table_6b_east | FF_table_6b_south_east | FF_table_6b_south | FF_table_6b_south_west | FF_table_6b_west | FF_table_6b_north_west | FF_table_6b_roof_windows | temperature_during_heating_living_room | monthly_external_temperature_table_U1 | hours_heating_is_off_1_weekday_living_room | hours_heating_is_off_2_weekday_living_room | hours_heating_is_off_1_weekend_living_room | hours_heating_is_off_2_weekend_living_room | hours_heating_is_off_1_weekday_rest_of_dwelling | hours_heating_is_off_2_weekday_rest_of_dwelling | hours_heating_is_off_1_weekend_rest_of_dwelling | hours_heating_is_off_2_weekend_rest_of_dwelling | responsiveness_of_heating_system | living_room_area | temperature_adjustment_table_4e | efficiency_of_main_space_heating_system_1 | efficiency_of_main_space_heating_system_2 | efficiency_of_secondary_space_heating_system | efficiency_of_water_heater | efficiency_of_water_heater_adjustment_table_4c
-5% | 2939.6318 | 2943.4898 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2967.8653 | 2966.5505 | 2973.2062 | 2973.2062 | 2978.6781 | 2973.2062 | 2962.6556 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2960.5011 | 2960.5011 | 2973.2062 | 2973.2062 | 2955.6202 | 2955.6202 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2947.4489 | 2948.6484 | 2971.9701 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2955.7399 | 2977.1796 | 2965.2809 | 2967.6302 | 2969.5099 | 2973.2062 | 2969.657 | 2973.0585 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2972.7225 | 2972.7225 | 2972.9446 | 2972.9446 | 2973.0755 | 2973.0755 | 2952.4933 | 2970.2342 | 2954.5756 | 2954.5756 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2965.9291 | 2973.2062 | 2981.3375 | 2964.6492 | 2974.7579 | 2974.7579 | 2974.7579 | 2974.7579 | 2973.367 | 2985.1553 | 2974.6659 | 2982.8804 | 2962.9016 | 2977.5841 | 2973.2062 | 2973.2062 | 2973.2062 | 2979.7314 | 2973.2062 | 2974.2244 | 2973.2062 | 2973.2062 | 2977.5841 | 2973.2062 | 2973.2062 | 2973.2062 | 2979.7314 | 2973.2062 | 2974.2244 | 2973.2062 | 2973.2062 | 2977.5841 | 2973.2062 | 2973.2062 | 2973.2062 | 2979.7314 | 2973.2062 | 2974.2244 | 2973.2062 | 2973.2062 | 2977.5841 | 2973.2062 | 2973.2062 | 2973.2062 | 2979.7314 | 2973.2062 | 2974.2244 | 2973.2062 | 2973.2062 | 2751.6899 | 3048.6615 | 2975.7056 | 2976.4708 | 2973.2062 | 2974.512 | 2982.0304 | 2984.7323 | 2973.2062 | 2977.816 | 2952.4354 | 2970.0413 | 2973.2062 | 3089.9753 | 2973.2062 | 2973.2062 | 2984.44 | 2973.2062
-4% | 2946.3271 | 2949.4429 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2968.923 | 2967.8653 | 2973.2062 | 2973.2062 | 2977.5733 | 2973.2062 | 2964.7237 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2963.044 | 2963.044 | 2973.2062 | 2973.2062 | 2959.1409 | 2959.1409 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2952.6021 | 2953.5667 | 2972.2182 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2959.2493 | 2976.3857 | 2966.8666 | 2968.7629 | 2970.2492 | 2973.2062 | 2970.367 | 2973.088 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2972.8194 | 2972.8194 | 2972.997 | 2972.997 | 2973.1016 | 2973.1016 | 2956.6407 | 2970.808 | 2958.2995 | 2958.2995 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2967.3843 | 2973.2062 | 2979.7111 | 2966.4317 | 2974.4298 | 2974.4298 | 2974.4298 | 2974.4298 | 2973.3348 | 2982.7576 | 2974.3801 | 2981.036 | 2964.9345 | 2976.707 | 2973.2062 | 2973.2062 | 2973.2062 | 2978.4245 | 2973.2062 | 2974.0207 | 2973.2062 | 2973.2062 | 2976.707 | 2973.2062 | 2973.2062 | 2973.2062 | 2978.4245 | 2973.2062 | 2974.0207 | 2973.2062 | 2973.2062 | 2976.707 | 2973.2062 | 2973.2062 | 2973.2062 | 2978.4245 | 2973.2062 | 2974.0207 | 2973.2062 | 2973.2062 | 2976.707 | 2973.2062 | 2973.2062 | 2973.2062 | 2978.4245 | 2973.2062 | 2974.0207 | 2973.2062 | 2973.2062 | 2795.657 | 3033.4943 | 2975.216 | 2975.8312 | 2973.2062 | 2974.2562 | 2980.3016 | 2982.474 | 2973.2062 | 2976.9129 | 2956.5846 | 2970.6742 | 2973.2062 | 3065.6484 | 2973.2062 | 2973.2062 | 2982.0996 | 2973.2062
-3% | 2953.033 | 2955.3912 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2969.9859 | 2969.1882 | 2973.2062 | 2973.2062 | 2976.4737 | 2973.2062 | 2966.8128 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2965.5859 | 2965.5859 | 2973.2062 | 2973.2062 | 2962.6598 | 2962.6598 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2957.7544 | 2958.4816 | 2972.4658 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2962.7504 | 2975.5914 | 2968.4521 | 2969.8867 | 2970.9885 | 2973.2062 | 2971.0769 | 2973.1176 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2972.9162 | 2972.9162 | 2973.0493 | 2973.0493 | 2973.1278 | 2973.1278 | 2960.7857 | 2971.3923 | 2962.0245 | 2962.0245 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2968.8396 | 2973.2062 | 2978.0847 | 2968.1776 | 2974.1106 | 2974.1106 | 2974.1106 | 2974.1106 | 2973.3027 | 2980.3639 | 2974.0913 | 2979.1469 | 2966.982 | 2975.8307 | 2973.2062 | 2973.2062 | 2973.2062 | 2977.1186 | 2973.2062 | 2973.817 | 2973.2062 | 2973.2062 | 2975.8307 | 2973.2062 | 2973.2062 | 2973.2062 | 2977.1186 | 2973.2062 | 2973.817 | 2973.2062 | 2973.2062 | 2975.8307 | 2973.2062 | 2973.2062 | 2973.2062 | 2977.1186 | 2973.2062 | 2973.817 | 2973.2062 | 2973.2062 | 2975.8307 | 2973.2062 | 2973.2062 | 2973.2062 | 2977.1186 | 2973.2062 | 2973.817 | 2973.2062 | 2973.2062 | 2839.7997 | 3018.3662 | 2974.7212 | 2975.185 | 2973.2062 | 2973.9977 | 2978.5547 | 2980.1922 | 2973.2062 | 2976.0004 | 2960.7363 | 2971.3072 | 2973.2062 | 3041.8231 | 2973.2062 | 2973.2062 | 2979.8075 | 2973.2062
-2% | 2959.7486 | 2961.3345 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2971.0541 | 2970.5194 | 2973.2062 | 2973.2062 | 2975.3793 | 2973.2062 | 2968.923 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2968.1269 | 2968.1269 | 2973.2062 | 2973.2062 | 2966.177 | 2966.177 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2962.9059 | 2963.3932 | 2972.7131 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2966.2435 | 2974.7968 | 2970.0371 | 2971.0018 | 2971.7278 | 2973.2062 | 2971.7868 | 2973.1471 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.013 | 2973.013 | 2973.1016 | 2973.1016 | 2973.1539 | 2973.1539 | 2964.9282 | 2971.9868 | 2965.7506 | 2965.7506 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2970.295 | 2973.2062 | 2976.4585 | 2969.8879 | 2973.8003 | 2973.8003 | 2973.8003 | 2973.8003 | 2973.2705 | 2977.9741 | 2973.7993 | 2977.2125 | 2969.0434 | 2974.9551 | 2973.2062 | 2973.2062 | 2973.2062 | 2975.8136 | 2973.2062 | 2973.6134 | 2973.2062 | 2973.2062 | 2974.9551 | 2973.2062 | 2973.2062 | 2973.2062 | 2975.8136 | 2973.2062 | 2973.6134 | 2973.2062 | 2973.2062 | 2974.9551 | 2973.2062 | 2973.2062 | 2973.2062 | 2975.8136 | 2973.2062 | 2973.6134 | 2973.2062 | 2973.2062 | 2974.9551 | 2973.2062 | 2973.2062 | 2973.2062 | 2975.8136 | 2973.2062 | 2973.6134 | 2973.2062 | 2973.2062 | 2884.1096 | 3003.2764 | 2974.2213 | 2974.5321 | 2973.2062 | 2973.7366 | 2976.7898 | 2977.887 | 2973.2062 | 2975.0784 | 2964.8905 | 2971.9401 | 2973.2062 | 3018.4841 | 2973.2062 | 2973.2062 | 2977.5622 | 2973.2062
-1% | 2966.4732 | 2967.2728 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2972.1276 | 2971.8587 | 2973.2062 | 2973.2062 | 2974.2901 | 2973.2062 | 2971.0541 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2970.667 | 2970.667 | 2973.2062 | 2973.2062 | 2969.6925 | 2969.6925 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2968.0565 | 2968.3014 | 2972.9599 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2969.7287 | 2974.0017 | 2971.6219 | 2972.1082 | 2972.467 | 2973.2062 | 2972.4965 | 2973.1767 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.1096 | 2973.1096 | 2973.1539 | 2973.1539 | 2973.1801 | 2973.1801 | 2969.0684 | 2972.5915 | 2969.4779 | 2969.4779 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2971.7505 | 2973.2062 | 2974.8323 | 2971.5638 | 2973.4988 | 2973.4988 | 2973.4988 | 2973.4988 | 2973.2384 | 2975.5882 | 2973.5043 | 2975.2324 | 2971.1184 | 2974.0803 | 2973.2062 | 2973.2062 | 2973.2062 | 2974.5094 | 2973.2062 | 2973.4098 | 2973.2062 | 2973.2062 | 2974.0803 | 2973.2062 | 2973.2062 | 2973.2062 | 2974.5094 | 2973.2062 | 2973.4098 | 2973.2062 | 2973.2062 | 2974.0803 | 2973.2062 | 2973.2062 | 2973.2062 | 2974.5094 | 2973.2062 | 2973.4098 | 2973.2062 | 2973.2062 | 2974.0803 | 2973.2062 | 2973.2062 | 2973.2062 | 2974.5094 | 2973.2062 | 2973.4098 | 2973.2062 | 2973.2062 | 2928.5802 | 2988.2236 | 2973.7163 | 2973.8725 | 2973.2062 | 2973.4727 | 2975.007 | 2975.5583 | 2973.2062 | 2974.147 | 2969.0471 | 2972.5732 | 2973.2062 | 2995.6165 | 2973.2062 | 2973.2062 | 2975.3622 | 2973.2062
1% | 2979.9469 | 2979.1347 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2974.2901 | 2974.5619 | 2973.2062 | 2973.2062 | 2972.1276 | 2973.2062 | 2975.3793 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2975.7445 | 2975.7445 | 2973.2062 | 2973.2062 | 2976.7183 | 2976.7183 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2978.3551 | 2978.1077 | 2973.4522 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2976.6761 | 2972.4104 | 2974.7903 | 2974.2959 | 2973.9454 | 2973.2062 | 2973.9159 | 2973.2358 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.3028 | 2973.3028 | 2973.2585 | 2973.2585 | 2973.2324 | 2973.2324 | 2977.3416 | 2973.8309 | 2976.9357 | 2976.9357 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2974.662 | 2973.2062 | 2971.5802 | 2974.8162 | 2972.9225 | 2972.9225 | 2972.9225 | 2972.9225 | 2973.1741 | 2970.8282 | 2972.9051 | 2971.1335 | 2975.3065 | 2972.3329 | 2973.2062 | 2973.2062 | 2973.2062 | 2971.9039 | 2973.2062 | 2973.0027 | 2973.2062 | 2973.2062 | 2972.3329 | 2973.2062 | 2973.2062 | 2973.2062 | 2971.9039 | 2973.2062 | 2973.0027 | 2973.2062 | 2973.2062 | 2972.3329 | 2973.2062 | 2973.2062 | 2973.2062 | 2971.9039 | 2973.2062 | 2973.0027 | 2973.2062 | 2973.2062 | 2972.3329 | 2973.2062 | 2973.2062 | 2973.2062 | 2971.9039 | 2973.2062 | 2973.0027 | 2973.2062 | 2973.2062 | 3017.9833 | 2958.2227 | 2972.691 | 2972.5333 | 2973.2062 | 2972.9371 | 2971.3875 | 2970.8307 | 2973.2062 | 2972.256 | 2977.3678 | 2973.8393 | 2973.2062 | 2951.2398 | 2973.2062 | 2973.2062 | 2971.0929 | 2973.2062
2% | 2986.6946 | 2985.0583 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2975.3793 | 2975.9258 | 2973.2062 | 2973.2062 | 2971.0541 | 2973.2062 | 2977.5733 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2978.282 | 2978.282 | 2973.2062 | 2973.2062 | 2980.2286 | 2980.2286 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2983.5032 | 2983.0059 | 2973.6977 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2980.1385 | 2971.6141 | 2976.3739 | 2975.3773 | 2974.6846 | 2973.2062 | 2974.6254 | 2973.2653 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.3992 | 2973.3992 | 2973.3108 | 2973.3108 | 2973.2585 | 2973.2585 | 2981.4747 | 2974.4653 | 2980.6663 | 2980.6663 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2976.118 | 2973.2062 | 2969.9543 | 2976.3947 | 2972.6477 | 2972.6477 | 2972.6477 | 2972.6477 | 2973.1419 | 2968.454 | 2972.601 | 2969.0139 | 2977.4185 | 2971.4603 | 2973.2062 | 2973.2062 | 2973.2062 | 2970.6025 | 2973.2062 | 2972.7992 | 2973.2062 | 2973.2062 | 2971.4603 | 2973.2062 | 2973.2062 | 2973.2062 | 2970.6025 | 2973.2062 | 2972.7992 | 2973.2062 | 2973.2062 | 2971.4603 | 2973.2062 | 2973.2062 | 2973.2062 | 2970.6025 | 2973.2062 | 2972.7992 | 2973.2062 | 2973.2062 | 2971.4603 | 2973.2062 | 2973.2062 | 2973.2062 | 2970.6025 | 2973.2062 | 2972.7992 | 2973.2062 | 2973.2062 | 3062.9073 | 2943.2711 | 2972.1707 | 2971.8537 | 2973.2062 | 2972.6652 | 2969.5507 | 2968.4318 | 2973.2062 | 2971.2964 | 2981.5319 | 2974.4725 | 2973.2062 | 2929.704 | 2973.2062 | 2973.2062 | 2969.0211 | 2973.2062
3% | 2993.4489 | 2990.977 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2976.4737 | 2977.2979 | 2973.2062 | 2973.2062 | 2969.9859 | 2973.2062 | 2979.7882 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2980.8185 | 2980.8185 | 2973.2062 | 2973.2062 | 2983.7372 | 2983.7372 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2988.6504 | 2987.9007 | 2973.9428 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2983.5937 | 2970.8174 | 2977.9573 | 2976.4505 | 2975.4237 | 2973.2062 | 2975.3349 | 2973.2948 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.4957 | 2973.4957 | 2973.363 | 2973.363 | 2973.2846 | 2973.2846 | 2985.6053 | 2975.1095 | 2984.398 | 2984.398 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2977.5741 | 2973.2062 | 2968.3284 | 2977.9426 | 2972.3817 | 2972.3817 | 2972.3817 | 2972.3817 | 2973.1098 | 2966.0838 | 2972.2938 | 2966.847 | 2979.5417 | 2970.5885 | 2973.2062 | 2973.2062 | 2973.2062 | 2969.302 | 2973.2062 | 2972.5958 | 2973.2062 | 2973.2062 | 2970.5885 | 2973.2062 | 2973.2062 | 2973.2062 | 2969.302 | 2973.2062 | 2972.5958 | 2973.2062 | 2973.2062 | 2970.5885 | 2973.2062 | 2973.2062 | 2973.2062 | 2969.302 | 2973.2062 | 2972.5958 | 2973.2062 | 2973.2062 | 2970.5885 | 2973.2062 | 2973.2062 | 2973.2062 | 2969.302 | 2973.2062 | 2972.5958 | 2973.2062 | 2973.2062 | 3107.9741 | 2928.3498 | 2971.6452 | 2971.1674 | 2973.2062 | 2972.3907 | 2967.6961 | 2966.0095 | 2973.2062 | 2970.3273 | 2985.6984 | 2975.1056 | 2973.2062 | 2908.5864 | 2973.2062 | 2973.2062 | 2966.9895 | 2973.2062
4% | 3000.2091 | 2996.8907 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2977.5733 | 2978.6781 | 2973.2062 | 2973.2062 | 2968.923 | 2973.2062 | 2982.024 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2983.3541 | 2983.3541 | 2973.2062 | 2973.2062 | 2987.244 | 2987.244 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2993.7967 | 2992.7921 | 2974.1875 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2987.0416 | 2970.0204 | 2979.5402 | 2977.5158 | 2976.1629 | 2973.2062 | 2976.0443 | 2973.3243 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.592 | 2973.592 | 2973.4152 | 2973.4152 | 2973.3108 | 2973.3108 | 2989.7336 | 2975.7632 | 2988.1308 | 2988.1308 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2979.0303 | 2973.2062 | 2966.7027 | 2979.4609 | 2972.1246 | 2972.1246 | 2972.1246 | 2972.1246 | 2973.0776 | 2963.7175 | 2971.9835 | 2964.6324 | 2981.6755 | 2969.7173 | 2973.2062 | 2973.2062 | 2973.2062 | 2968.0025 | 2973.2062 | 2972.3923 | 2973.2062 | 2973.2062 | 2969.7173 | 2973.2062 | 2973.2062 | 2973.2062 | 2968.0025 | 2973.2062 | 2972.3923 | 2973.2062 | 2973.2062 | 2969.7173 | 2973.2062 | 2973.2062 | 2973.2062 | 2968.0025 | 2973.2062 | 2972.3923 | 2973.2062 | 2973.2062 | 2969.7173 | 2973.2062 | 2973.2062 | 2973.2062 | 2968.0025 | 2973.2062 | 2972.3923 | 2973.2062 | 2973.2062 | 3153.1794 | 2913.4572 | 2971.1147 | 2970.4744 | 2973.2062 | 2972.1135 | 2965.8234 | 2963.5638 | 2973.2062 | 2969.3488 | 2989.8674 | 2975.7388 | 2973.2062 | 2887.875 | 2973.2062 | 2973.2062 | 2964.9969 | 2973.2062
5% | 3006.9747 | 3002.7996 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2978.6781 | 2980.0665 | 2973.2062 | 2973.2062 | 2967.8653 | 2973.2062 | 2984.2807 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2985.8888 | 2985.8888 | 2973.2062 | 2973.2062 | 2990.7492 | 2990.7492 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2998.9422 | 2997.6802 | 2974.4318 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2990.4824 | 2969.2229 | 2981.1229 | 2978.5731 | 2976.902 | 2973.2062 | 2976.7537 | 2973.3539 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.6883 | 2973.6883 | 2973.4674 | 2973.4674 | 2973.3369 | 2973.3369 | 2993.8595 | 2976.4264 | 2991.8647 | 2991.8647 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2980.4866 | 2973.2062 | 2965.077 | 2980.9502 | 2971.8764 | 2971.8764 | 2971.8764 | 2971.8764 | 2973.0455 | 2961.3551 | 2971.6703 | 2962.3697 | 2983.8194 | 2968.847 | 2973.2062 | 2973.2062 | 2973.2062 | 2966.7038 | 2973.2062 | 2972.1889 | 2973.2062 | 2973.2062 | 2968.847 | 2973.2062 | 2973.2062 | 2973.2062 | 2966.7038 | 2973.2062 | 2972.1889 | 2973.2062 | 2973.2062 | 2968.847 | 2973.2062 | 2973.2062 | 2973.2062 | 2966.7038 | 2973.2062 | 2972.1889 | 2973.2062 | 2973.2062 | 2968.847 | 2973.2062 | 2973.2062 | 2973.2062 | 2966.7038 | 2973.2062 | 2972.1889 | 2973.2062 | 2973.2062 | 3198.5185 | 2898.5922 | 2970.579 | 2969.7748 | 2973.2062 | 2971.8336 | 2963.9328 | 2961.0947 | 2973.2062 | 2968.3609 | 2994.0388 | 2976.372 | 2973.2062 | 2867.558 | 2973.2062 | 2973.2062 | 2963.0423 | 2973.2062
Base | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062 | 2973.2062