## OAT
| area | average_storey_height | number_of_chimneys_main_heating | number_of_chimneys_secondary_heating | number_of_chimneys_other | number_of_open_flues_main_heating | number_of_open_flues_secondary_heating | number_of_open_flues_other | number_of_intermittant_fans_total | number_of_passive_vents_total | number_of_flueless_gas_fires_total | air_permeability_value_q50 | number_of_storeys_in_the_dwelling | structural_infiltration | suspended_wooden_ground_floor_infiltration | no_draft_lobby_infiltration | percentage_of_windows_and_doors_draught_proofed | number_of_sides_on_which_dwelling_is_sheltered | monthly_average_wind_speed | mechanical_ventilation_air_change_rate_through_system | exhaust_air_heat_pump_using_Appendix_N | mechanical_ventilation_throughput_factor | efficiency_allowing_for_in_use_factor | solid_door_net_area | solid_door_u_value | semi_glazed_door_net_area | semi_glazed_door_u_value | window_net_area | window_u_value | roof_window_net_area | roof_window_u_value | basement_floor_net_area | basement_floor_u_value | basement_floor_heat_capacity | ground_floor_net_area | ground_floor_u_value | ground_floor_heat_capacity | exposed_floor_net_area | exposed_floor_u_value | exposed_floor_heat_capacity | basement_wall_gross_area | basement_wall_opening | basement_wall_u_value | basement_wall_heat_capacity | external_wall_gross_area | external_wall_opening | external_wall_u_value | external_wall_heat_capacity | roof_gross_area | roof_opening | roof_u_value | roof_heat_capacity | party_wall_net_area | party_wall_u_value | party_wall_heat_capacity | party_floor_net_area | party_floor_heat_capacity | party_ceiling_net_area | party_ceiling_heat_capacity | internal_wall_net_area | internal_wall_heat_capacity | internal_floor_net_area | internal_floor_heat_capacity | internal_ceiling_net_area | internal_ceiling_heat_capacity | thermal_bridges_appendix_k | assumed_occupancy | V_dm_table_1c | T_table_1d | water_storage_loss_manufacturer | temperature_factor_table_2b | storage_volume_litres | hot_water_storage_loss_table_2 | volume_factor_table_2a | Vs_appendix_G3 | primary_circuit_loss_table_3 | combi_loss_table_3 | solar_DHW_input_appendix_G | number_of_low_energy_light_bulbs | total_number_of_light_bulbs | frame_factor | window_area | light_access_factor_table_6d | light_transmittance_factor_table_6d | pumps_and_fans_gains | solar_radiation_horizontal_plane_monthly_table_U3 | solar_declination_monthly_table_U3 | location_latitude_table_U4 | p_tilt | access_factor_table_6d_north | access_factor_table_6d_north_east | access_factor_table_6d_east | access_factor_table_6d_south_east | access_factor_table_6d_south | access_factor_table_6d_south_west | access_factor_table_6d_west | access_factor_table_6d_north_west | access_factor_table_6d_roof_windows | area_north | area_north_east | area_east | area_south_east | area_south | area_south_west | area_west | area_north_west | area_roof_windows | g_table_6b_north | g_table_6b_north_east | g_table_6b_east | g_table_6b_south_east | g_table_6b_south | g_table_6b_south_west | g_table_6b_west | g_table_6b_north_west | g_table_6b_roof_windows | FF_table_6b_north | FF_table_6b_north_east | FF_table_6b_east | FF_table_6b_south_east | FF_table_6b_south | FF_table_6b_south_west | FF_table_6b_west | FF_table_6b_north_west | FF_table_6b_roof_windows | temperature_during_heating_living_room | monthly_external_temperature_table_U1 | hours_heating_is_off_1_weekday_living_room | hours_heating_is_off_2_weekday_living_room | hours_heating_is_off_1_weekend_living_room | hours_heating_is_off_2_weekend_living_room | hours_heating_is_off_1_weekday_rest_of_dwelling | hours_heating_is_off_2_weekday_rest_of_dwelling | hours_heating_is_off_1_weekend_rest_of_dwelling | hours_heating_is_off_2_weekend_rest_of_dwelling | responsiveness_of_heating_system | living_room_area | temperature_adjustment_table_4e | efficiency_of_main_space_heating_system_1 | efficiency_of_main_space_heating_system_2 | efficiency_of_secondary_space_heating_system | efficiency_of_water_heater | efficiency_of_water_heater_adjustment_table_4c
-5% | 34785.7142 | 34732.7994 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34864.9912 | 34855.4071 | 34903.7109 | 34893.9734 | 34903.7109 | 34903.7109 | 34780.1141 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34809.8483 | 34809.8483 | 34903.7109 | 34903.7109 | 34696.0171 | 34696.0171 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34763.4764 | 34794.9513 | 34872.1915 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34205.6846 | 35064.25 | 34377.6272 | 34891.1724 | 34571.1371 | 34903.7109 | 34574.9066 | 34899.9253 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34891.3379 | 34891.3379 | 34897.0118 | 34897.0118 | 34900.361 | 34900.361 | 34811.9475 | 34867.1227 | 34788.6624 | 34788.6624 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34859.8723 | 34903.7109 | 34903.7109 | 34903.7109 | 34907.9038 | 34907.9038 | 34907.9038 | 34907.9038 | 34905.7247 | 34960.2325 | 34910.4004 | 34948.8958 | 34854.8174 | 34924.5611 | 34903.7109 | 34903.7109 | 34903.7109 | 34934.4437 | 34903.7109 | 34908.545 | 34903.7109 | 34903.7109 | 34924.5611 | 34903.7109 | 34903.7109 | 34903.7109 | 34934.4437 | 34903.7109 | 34908.545 | 34903.7109 | 34903.7109 | 34924.5611 | 34903.7109 | 34903.7109 | 34903.7109 | 34934.4437 | 34903.7109 | 34908.545 | 34903.7109 | 34903.7109 | 34924.5611 | 34903.7109 | 34903.7109 | 34903.7109 | 34934.4437 | 34903.7109 | 34908.545 | 34903.7109 | 34903.7109 | 31855.6097 | 35958.7982 | 35013.9908 | 35029.7468 | 34903.7109 | 34954.122 | 35255.0906 | 35305.3029 | 34903.7109 | 35064.3183 | 34271.8765 | 34820.4041 | 34903.7109 | 36615.3292 | 34903.7109 | 34903.7109 | 34932.0058 | 34903.7109
-4% | 34806.778 | 34766.9603 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34872.686 | 34864.9912 | 34903.7109 | 34895.9179 | 34903.7109 | 34903.7109 | 34804.3155 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34828.6142 | 34828.6142 | 34903.7109 | 34903.7109 | 34737.5237 | 34737.5237 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34791.5022 | 34816.6944 | 34878.4903 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34344.93 | 35032.1221 | 34482.6422 | 34893.6793 | 34637.5693 | 34903.7109 | 34640.5876 | 34900.6823 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34893.8117 | 34893.8117 | 34898.3514 | 34898.3514 | 34901.0309 | 34901.0309 | 34830.2939 | 34874.353 | 34811.6608 | 34811.6608 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34868.6384 | 34903.7109 | 34903.7109 | 34903.7109 | 34907.0171 | 34907.0171 | 34907.0171 | 34907.0171 | 34905.3219 | 34948.8983 | 34909.0918 | 34940.2831 | 34864.4845 | 34920.3859 | 34903.7109 | 34903.7109 | 34903.7109 | 34928.2896 | 34903.7109 | 34907.5779 | 34903.7109 | 34903.7109 | 34920.3859 | 34903.7109 | 34903.7109 | 34903.7109 | 34928.2896 | 34903.7109 | 34907.5779 | 34903.7109 | 34903.7109 | 34920.3859 | 34903.7109 | 34903.7109 | 34903.7109 | 34928.2896 | 34903.7109 | 34907.5779 | 34903.7109 | 34903.7109 | 34920.3859 | 34903.7109 | 34903.7109 | 34903.7109 | 34928.2896 | 34903.7109 | 34907.5779 | 34903.7109 | 34903.7109 | 32461.896 | 35747.1449 | 34991.9331 | 35004.5374 | 34903.7109 | 34944.0394 | 35184.7997 | 35224.965 | 34903.7109 | 35032.1937 | 34397.94 | 34837.0635 | 34903.7109 | 36258.742 | 34903.7109 | 34903.7109 | 34926.1111 | 34903.7109
-3% | 34829.1707 | 34801.1318 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34880.4054 | 34874.6135 | 34903.7109 | 34897.8638 | 34903.7109 | 34903.7109 | 34828.7757 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34847.3834 | 34847.3834 | 34903.7109 | 34903.7109 | 34779.0463 | 34779.0463 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34819.5385 | 34838.4418 | 34884.7916 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34484.3523 | 35000.0043 | 34587.7567 | 34896.1866 | 34704.0424 | 34903.7109 | 34706.3082 | 34901.4394 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34896.2859 | 34896.2859 | 34899.6911 | 34899.6911 | 34901.7009 | 34901.7009 | 34848.6434 | 34881.6275 | 34834.6648 | 34834.6648 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34877.4053 | 34903.7109 | 34903.7109 | 34903.7109 | 34906.1546 | 34906.1546 | 34906.1546 | 34906.1546 | 34904.9192 | 34937.5792 | 34907.7686 | 34931.4605 | 34874.2097 | 34916.2132 | 34903.7109 | 34903.7109 | 34903.7109 | 34922.1393 | 34903.7109 | 34906.611 | 34903.7109 | 34903.7109 | 34916.2132 | 34903.7109 | 34903.7109 | 34903.7109 | 34922.1393 | 34903.7109 | 34906.611 | 34903.7109 | 34903.7109 | 34916.2132 | 34903.7109 | 34903.7109 | 34903.7109 | 34922.1393 | 34903.7109 | 34906.611 | 34903.7109 | 34903.7109 | 34916.2132 | 34903.7109 | 34903.7109 | 34903.7109 | 34922.1393 | 34903.7109 | 34906.611 | 34903.7109 | 34903.7109 | 33070.031 | 35535.7756 | 34969.8763 | 34979.3292 | 34903.7109 | 34933.957 | 35114.5162 | 35144.6368 | 34903.7109 | 35000.0706 | 34524.1611 | 34853.7239 | 34903.7109 | 35909.5072 | 34903.7109 | 34903.7109 | 34920.3378 | 34903.7109
-2% | 34852.8296 | 34835.3141 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34888.1493 | 34884.2743 | 34903.7109 | 34899.8113 | 34903.7109 | 34903.7109 | 34853.4949 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34866.1559 | 34866.1559 | 34903.7109 | 34903.7109 | 34820.585 | 34820.585 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34847.5855 | 34860.1938 | 34891.0955 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34623.9545 | 34967.8966 | 34692.972 | 34898.6943 | 34770.5569 | 34903.7109 | 34772.0687 | 34902.1966 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34898.7606 | 34898.7606 | 34901.0309 | 34901.0309 | 34902.3709 | 34902.3709 | 34866.9961 | 34888.9458 | 34857.6745 | 34857.6745 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34886.1731 | 34903.7109 | 34903.7109 | 34903.7109 | 34905.316 | 34905.316 | 34905.316 | 34905.316 | 34904.5164 | 34926.2749 | 34906.4306 | 34922.4257 | 34883.9906 | 34912.0432 | 34903.7109 | 34903.7109 | 34903.7109 | 34915.9928 | 34903.7109 | 34905.6442 | 34903.7109 | 34903.7109 | 34912.0432 | 34903.7109 | 34903.7109 | 34903.7109 | 34915.9928 | 34903.7109 | 34905.6442 | 34903.7109 | 34903.7109 | 34912.0432 | 34903.7109 | 34903.7109 | 34903.7109 | 34915.9928 | 34903.7109 | 34905.6442 | 34903.7109 | 34903.7109 | 34912.0432 | 34903.7109 | 34903.7109 | 34903.7109 | 34915.9928 | 34903.7109 | 34905.6442 | 34903.7109 | 34903.7109 | 33679.8434 | 35324.7212 | 34947.8204 | 34954.122 | 34903.7109 | 34923.8748 | 35044.2403 | 35064.3183 | 34903.7109 | 34967.9492 | 34650.5338 | 34870.3853 | 34903.7109 | 35567.3996 | 34903.7109 | 34903.7109 | 34914.6824 | 34903.7109
-1% | 34877.6952 | 34869.5071 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34895.9179 | 34893.9734 | 34903.7109 | 34901.7604 | 34903.7109 | 34903.7109 | 34878.4732 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34884.9318 | 34884.9318 | 34903.7109 | 34903.7109 | 34862.1399 | 34862.1399 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34875.6429 | 34881.9501 | 34897.402 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34763.7397 | 34935.7988 | 34798.2896 | 34901.2024 | 34837.1129 | 34903.7109 | 34837.8695 | 34902.9537 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34901.2356 | 34901.2356 | 34902.3709 | 34902.3709 | 34903.0409 | 34903.0409 | 34885.3519 | 34896.3071 | 34880.6899 | 34880.6899 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34894.9416 | 34903.7109 | 34903.7109 | 34903.7109 | 34904.5015 | 34904.5015 | 34904.5015 | 34904.5015 | 34904.1137 | 34914.9855 | 34905.0781 | 34913.1766 | 34893.8251 | 34907.8758 | 34903.7109 | 34903.7109 | 34903.7109 | 34909.85 | 34903.7109 | 34904.6775 | 34903.7109 | 34903.7109 | 34907.8758 | 34903.7109 | 34903.7109 | 34903.7109 | 34909.85 | 34903.7109 | 34904.6775 | 34903.7109 | 34903.7109 | 34907.8758 | 34903.7109 | 34903.7109 | 34903.7109 | 34909.85 | 34903.7109 | 34904.6775 | 34903.7109 | 34903.7109 | 34907.8758 | 34903.7109 | 34903.7109 | 34903.7109 | 34909.85 | 34903.7109 | 34904.6775 | 34903.7109 | 34903.7109 | 34291.1319 | 35114.0184 | 34925.7652 | 34928.9159 | 34903.7109 | 34913.7928 | 34973.9718 | 34984.0097 | 34903.7109 | 34935.8293 | 34777.0523 | 34887.0476 | 34903.7109 | 35232.2033 | 34903.7109 | 34903.7109 | 34909.1413 | 34903.7109
1% | 34930.8231 | 34937.9257 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34911.5286 | 34913.4868 | 34903.7109 | 34905.6631 | 34903.7109 | 34903.7109 | 34929.2082 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34922.4934 | 34922.4934 | 34903.7109 | 34903.7109 | 34945.2984 | 34945.2984 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34931.7895 | 34925.4762 | 34910.0224 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 35043.8711 | 34871.633 | 35009.2373 | 34906.2199 | 34970.3513 | 34903.7109 | 34969.5934 | 34904.4682 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34906.1867 | 34906.1867 | 34905.0511 | 34905.0511 | 34904.381 | 34904.381 | 34922.0731 | 34911.1567 | 34926.7376 | 34926.7376 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34912.4811 | 34903.7109 | 34903.7109 | 34903.7109 | 34902.9444 | 34902.9444 | 34902.9444 | 34902.9444 | 34903.3082 | 34892.4511 | 34902.3292 | 34894.0268 | 34913.6458 | 34899.5487 | 34903.7109 | 34903.7109 | 34903.7109 | 34897.5757 | 34903.7109 | 34902.7445 | 34903.7109 | 34903.7109 | 34899.5487 | 34903.7109 | 34903.7109 | 34903.7109 | 34897.5757 | 34903.7109 | 34902.7445 | 34903.7109 | 34903.7109 | 34899.5487 | 34903.7109 | 34903.7109 | 34903.7109 | 34897.5757 | 34903.7109 | 34902.7445 | 34903.7109 | 34903.7109 | 34899.5487 | 34903.7109 | 34903.7109 | 34903.7109 | 34897.5757 | 34903.7109 | 34902.7445 | 34903.7109 | 34903.7109 | 35517.4226 | 34693.8507 | 34881.6575 | 34878.5071 | 34903.7109 | 34893.6293 | 34833.4577 | 34823.4221 | 34903.7109 | 34871.5942 | 35030.5042 | 34920.3752 | 34903.7109 | 34581.7234 | 34903.7109 | 34903.7109 | 34898.3881 | 34903.7109
2% | 34958.9805 | 34972.1513 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34919.3708 | 34923.3012 | 34903.7109 | 34907.6167 | 34903.7109 | 34903.7109 | 34954.9652 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34941.2793 | 34941.2793 | 34903.7109 | 34903.7109 | 34986.9022 | 34986.9022 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34959.8786 | 34947.246 | 34916.3365 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 35184.2233 | 34839.565 | 35114.8703 | 34908.7292 | 35037.0342 | 34903.7109 | 35035.5171 | 34905.2255 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34908.6629 | 34908.6629 | 34906.3914 | 34906.3914 | 34905.0511 | 34905.0511 | 34940.4385 | 34918.6438 | 34949.7698 | 34949.7698 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34921.252 | 34903.7109 | 34903.7109 | 34903.7109 | 34902.2019 | 34902.2019 | 34902.2019 | 34902.2019 | 34902.9055 | 34881.206 | 34900.933 | 34884.122 | 34923.6272 | 34895.389 | 34903.7109 | 34903.7109 | 34903.7109 | 34891.4441 | 34903.7109 | 34901.7782 | 34903.7109 | 34903.7109 | 34895.389 | 34903.7109 | 34903.7109 | 34903.7109 | 34891.4441 | 34903.7109 | 34901.7782 | 34903.7109 | 34903.7109 | 34895.389 | 34903.7109 | 34903.7109 | 34903.7109 | 34891.4441 | 34903.7109 | 34901.7782 | 34903.7109 | 34903.7109 | 34895.389 | 34903.7109 | 34903.7109 | 34903.7109 | 34891.4441 | 34903.7109 | 34901.7782 | 34903.7109 | 34903.7109 | 36132.1358 | 34484.499 | 34859.6049 | 34853.3043 | 34903.7109 | 34883.5478 | 34763.212 | 34743.1433 | 34903.7109 | 34839.4791 | 35157.4269 | 34937.0405 | 34903.7109 | 34266.0493 | 34903.7109 | 34903.7109 | 34893.1697 | 34903.7109
3% | 34988.1346 | 35006.3879 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34927.2376 | 34933.1539 | 34903.7109 | 34909.5719 | 34903.7109 | 34903.7109 | 34980.9821 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34960.0685 | 34960.0685 | 34903.7109 | 34903.7109 | 35028.5226 | 35028.5226 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34987.9783 | 34969.0203 | 34922.653 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 35324.7706 | 34807.5068 | 35220.6111 | 34911.2389 | 35103.7602 | 34903.7109 | 35101.4826 | 34905.9828 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34911.1394 | 34911.1394 | 34907.7318 | 34907.7318 | 34905.7213 | 34905.7213 | 34958.8071 | 34926.1718 | 34972.8077 | 34972.8077 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34930.0237 | 34903.7109 | 34903.7109 | 34903.7109 | 34901.4834 | 34901.4834 | 34901.4834 | 34901.4834 | 34902.5028 | 34869.9755 | 34899.5224 | 34873.9948 | 34933.6528 | 34891.2319 | 34903.7109 | 34903.7109 | 34903.7109 | 34885.3163 | 34903.7109 | 34900.812 | 34903.7109 | 34903.7109 | 34891.2319 | 34903.7109 | 34903.7109 | 34903.7109 | 34885.3163 | 34903.7109 | 34900.812 | 34903.7109 | 34903.7109 | 34891.2319 | 34903.7109 | 34903.7109 | 34903.7109 | 34885.3163 | 34903.7109 | 34900.812 | 34903.7109 | 34903.7109 | 34891.2319 | 34903.7109 | 34903.7109 | 34903.7109 | 34885.3163 | 34903.7109 | 34900.812 | 34903.7109 | 34903.7109 | 36747.7427 | 34275.7268 | 34837.5531 | 34828.1026 | 34903.7109 | 34873.4664 | 34692.9741 | 34662.8745 | 34903.7109 | 34807.3655 | 35284.4739 | 34953.7067 | 34903.7109 | 33956.5047 | 34903.7109 | 34903.7109 | 34888.0526 | 34903.7109
4% | 35018.2393 | 35040.6355 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34935.129 | 34943.045 | 34903.7109 | 34911.5286 | 34903.7109 | 34903.7109 | 35007.2591 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34978.861 | 34978.861 | 34903.7109 | 34903.7109 | 35070.1595 | 35070.1595 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 35016.0885 | 34990.7991 | 34928.9721 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 35465.5159 | 34775.4584 | 35326.4613 | 34913.749 | 35170.5295 | 34903.7109 | 35167.49 | 34906.7401 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34913.6164 | 34913.6164 | 34909.0723 | 34909.0723 | 34906.3914 | 34906.3914 | 34977.1789 | 34933.7401 | 34995.8511 | 34995.8511 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34938.7962 | 34903.7109 | 34903.7109 | 34903.7109 | 34900.7889 | 34900.7889 | 34900.7889 | 34900.7889 | 34902.1002 | 34858.7597 | 34898.0973 | 34863.6432 | 34943.7201 | 34887.0773 | 34903.7109 | 34903.7109 | 34903.7109 | 34879.1923 | 34903.7109 | 34899.846 | 34903.7109 | 34903.7109 | 34887.0773 | 34903.7109 | 34903.7109 | 34903.7109 | 34879.1923 | 34903.7109 | 34899.846 | 34903.7109 | 34903.7109 | 34887.0773 | 34903.7109 | 34903.7109 | 34903.7109 | 34879.1923 | 34903.7109 | 34899.846 | 34903.7109 | 34903.7109 | 34887.0773 | 34903.7109 | 34903.7109 | 34903.7109 | 34879.1923 | 34903.7109 | 34899.846 | 34903.7109 | 34903.7109 | 37364.1541 | 34067.613 | 34815.5022 | 34802.9021 | 34903.7109 | 34863.3853 | 34622.7438 | 34582.6158 | 34903.7109 | 34775.2536 | 35411.6404 | 34970.3739 | 34903.7109 | 33652.913 | 34903.7109 | 34903.7109 | 34883.0339 | 34903.7109
5% | 35049.2505 | 35074.8942 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34943.045 | 34952.9746 | 34903.7109 | 34913.4868 | 34903.7109 | 34903.7109 | 35033.7965 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34997.6569 | 34997.6569 | 34903.7109 | 34903.7109 | 35111.8131 | 35111.8131 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 35044.2093 | 35012.5824 | 34935.2937 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 35606.4622 | 34743.4198 | 35432.4222 | 34916.2595 | 35237.3424 | 34903.7109 | 35233.5398 | 34907.4975 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34916.0937 | 34916.0937 | 34910.413 | 34910.413 | 34907.0616 | 34907.0616 | 34995.554 | 34941.3482 | 35018.9001 | 35018.9001 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34947.5694 | 34903.7109 | 34903.7109 | 34903.7109 | 34900.1184 | 34900.1184 | 34900.1184 | 34900.1184 | 34901.6975 | 34847.5584 | 34896.6578 | 34853.0654 | 34953.8266 | 34882.9254 | 34903.7109 | 34903.7109 | 34903.7109 | 34873.072 | 34903.7109 | 34898.88 | 34903.7109 | 34903.7109 | 34882.9254 | 34903.7109 | 34903.7109 | 34903.7109 | 34873.072 | 34903.7109 | 34898.88 | 34903.7109 | 34903.7109 | 34882.9254 | 34903.7109 | 34903.7109 | 34903.7109 | 34873.072 | 34903.7109 | 34898.88 | 34903.7109 | 34903.7109 | 34882.9254 | 34903.7109 | 34903.7109 | 34903.7109 | 34873.072 | 34903.7109 | 34898.88 | 34903.7109 | 34903.7109 | 37981.2956 | 33860.2377 | 34793.4521 | 34777.7026 | 34903.7109 | 34853.3043 | 34552.5214 | 34502.3672 | 34903.7109 | 34743.1433 | 35538.922 | 34987.0421 | 34903.7109 | 33355.104 | 34903.7109 | 34903.7109 | 34878.1108 | 34903.7109
Base | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109 | 34903.7109

## OAT_CO2
| area | average_storey_height | number_of_chimneys_main_heating | number_of_chimneys_secondary_heating | number_of_chimneys_other | number_of_open_flues_main_heating | number_of_open_flues_secondary_heating | number_of_open_flues_other | number_of_intermittant_fans_total | number_of_passive_vents_total | number_of_flueless_gas_fires_total | air_permeability_value_q50 | number_of_storeys_in_the_dwelling | structural_infiltration | suspended_wooden_ground_floor_infiltration | no_draft_lobby_infiltration | percentage_of_windows_and_doors_draught_proofed | number_of_sides_on_which_dwelling_is_sheltered | monthly_average_wind_speed | mechanical_ventilation_air_change_rate_through_system | exhaust_air_heat_pump_using_Appendix_N | mechanical_ventilation_throughput_factor | efficiency_allowing_for_in_use_factor | solid_door_net_area | solid_door_u_value | semi_glazed_door_net_area | semi_glazed_door_u_value | window_net_area | window_u_value | roof_window_net_area | roof_window_u_value | basement_floor_net_area | basement_floor_u_value | basement_floor_heat_capacity | ground_floor_net_area | ground_floor_u_value | ground_floor_heat_capacity | exposed_floor_net_area | exposed_floor_u_value | exposed_floor_heat_capacity | basement_wall_gross_area | basement_wall_opening | basement_wall_u_value | basement_wall_heat_capacity | external_wall_gross_area | external_wall_opening | external_wall_u_value | external_wall_heat_capacity | roof_gross_area | roof_opening | roof_u_value | roof_heat_capacity | party_wall_net_area | party_wall_u_value | party_wall_heat_capacity | party_floor_net_area | party_floor_heat_capacity | party_ceiling_net_area | party_ceiling_heat_capacity | internal_wall_net_area | internal_wall_heat_capacity | internal_floor_net_area | internal_floor_heat_capacity | internal_ceiling_net_area | internal_ceiling_heat_capacity | thermal_bridges_appendix_k | assumed_occupancy | V_dm_table_1c | T_table_1d | water_storage_loss_manufacturer | temperature_factor_table_2b | storage_volume_litres | hot_water_storage_loss_table_2 | volume_factor_table_2a | Vs_appendix_G3 | primary_circuit_loss_table_3 | combi_loss_table_3 | solar_DHW_input_appendix_G | number_of_low_energy_light_bulbs | total_number_of_light_bulbs | frame_factor | window_area | light_access_factor_table_6d | light_transmittance_factor_table_6d | pumps_and_fans_gains | solar_radiation_horizontal_plane_monthly_table_U3 | solar_declination_monthly_table_U3 | location_latitude_table_U4 | p_tilt | access_factor_table_6d_north | access_factor_table_6d_north_east | access_factor_table_6d_east | access_factor_table_6d_south_east | access_factor_table_6d_south | access_factor_table_6d_south_west | access_factor_table_6d_west | access_factor_table_6d_north_west | access_factor_table_6d_roof_windows | area_north | area_north_east | area_east | area_south_east | area_south | area_south_west | area_west | area_north_west | area_roof_windows | g_table_6b_north | g_table_6b_north_east | g_table_6b_east | g_table_6b_south_east | g_table_6b_south | g_table_6b_south_west | g_table_6b_west | g_table_6b_north_west | g_table_6b_roof_windows | FF_table_6b_north | FF_table_6b_north_east | FF_table_6b_east | FF_table_6b_south_east | FF_table_6b_south | FF_table_6b_south_west | FF_table_6b_west | FF_table_6b_north_west | FF_table_6b_roof_windows | temperature_during_heating_living_room | monthly_external_temperature_table_U1 | hours_heating_is_off_1_weekday_living_room | hours_heating_is_off_2_weekday_living_room | hours_heating_is_off_1_weekend_living_room | hours_heating_is_off_2_weekend_living_room | hours_heating_is_off_1_weekday_rest_of_dwelling | hours_heating_is_off_2_weekday_rest_of_dwelling | hours_heating_is_off_1_weekend_rest_of_dwelling | hours_heating_is_off_2_weekend_rest_of_dwelling | responsiveness_of_heating_system | living_room_area | temperature_adjustment_table_4e | efficiency_of_main_space_heating_system_1 | efficiency_of_main_space_heating_system_2 | efficiency_of_secondary_space_heating_system | efficiency_of_water_heater | efficiency_of_water_heater_adjustment_table_4c
-5% | 8064.7923 | 8061.4294 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8089.9828 | 8087.9127 | 8098.3463 | 8096.243 | 8098.3463 | 8098.3463 | 8071.6494 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8078.072 | 8078.072 | 8098.3463 | 8098.3463 | 8053.4844 | 8053.4844 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8068.0556 | 8074.8542 | 8091.5381 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 7947.5726 | 8133.0227 | 7984.7122 | 8095.638 | 8026.5103 | 8098.3463 | 8027.3246 | 8097.5286 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8095.6737 | 8095.6737 | 8096.8993 | 8096.8993 | 8097.6227 | 8097.6227 | 8078.5254 | 8084.4688 | 8073.4958 | 8073.4958 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8088.8771 | 8098.3463 | 8098.3463 | 8098.3463 | 8101.6384 | 8101.6384 | 8101.6384 | 8101.6384 | 8098.7813 | 8110.5549 | 8099.7912 | 8108.1062 | 8087.7853 | 8102.8499 | 8098.3463 | 8098.3463 | 8098.3463 | 8104.9846 | 8098.3463 | 8099.3905 | 8098.3463 | 8098.3463 | 8102.8499 | 8098.3463 | 8098.3463 | 8098.3463 | 8104.9846 | 8098.3463 | 8099.3905 | 8098.3463 | 8098.3463 | 8102.8499 | 8098.3463 | 8098.3463 | 8098.3463 | 8104.9846 | 8098.3463 | 8099.3905 | 8098.3463 | 8098.3463 | 8102.8499 | 8098.3463 | 8098.3463 | 8098.3463 | 8104.9846 | 8098.3463 | 8099.3905 | 8098.3463 | 8098.3463 | 7439.9564 | 8326.2451 | 8122.1668 | 8125.57 | 8098.3463 | 8109.2351 | 8174.2443 | 8185.0902 | 8098.3463 | 8133.0375 | 7961.8701 | 8080.352 | 8098.3463 | 8468.0558 | 8098.3463 | 8098.3463 | 8104.458 | 8098.3463
-4% | 8070.9471 | 8068.8082 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8091.6449 | 8089.9828 | 8098.3463 | 8096.663 | 8098.3463 | 8098.3463 | 8076.8769 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8082.1254 | 8082.1254 | 8098.3463 | 8098.3463 | 8062.4499 | 8062.4499 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8074.1092 | 8079.5507 | 8092.8986 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 7977.6496 | 8126.0831 | 8007.3955 | 8096.1795 | 8040.8597 | 8098.3463 | 8041.5117 | 8097.6921 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8096.2081 | 8096.2081 | 8097.1886 | 8097.1886 | 8097.7674 | 8097.7674 | 8082.4882 | 8087.2385 | 8078.4635 | 8078.4635 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8090.7706 | 8098.3463 | 8098.3463 | 8098.3463 | 8100.9423 | 8100.9423 | 8100.9423 | 8100.9423 | 8098.6943 | 8108.1068 | 8099.5086 | 8106.2459 | 8089.8734 | 8101.9481 | 8098.3463 | 8098.3463 | 8098.3463 | 8103.6553 | 8098.3463 | 8099.1816 | 8098.3463 | 8098.3463 | 8101.9481 | 8098.3463 | 8098.3463 | 8098.3463 | 8103.6553 | 8098.3463 | 8099.1816 | 8098.3463 | 8098.3463 | 8101.9481 | 8098.3463 | 8098.3463 | 8098.3463 | 8103.6553 | 8098.3463 | 8099.1816 | 8098.3463 | 8098.3463 | 8101.9481 | 8098.3463 | 8098.3463 | 8098.3463 | 8103.6553 | 8098.3463 | 8099.1816 | 8098.3463 | 8098.3463 | 7570.9143 | 8280.528 | 8117.4023 | 8120.1248 | 8098.3463 | 8107.0573 | 8159.0615 | 8167.7372 | 8098.3463 | 8126.0986 | 7989.0998 | 8083.9505 | 8098.3463 | 8391.033 | 8098.3463 | 8098.3463 | 8103.1847 | 8098.3463
-3% | 8077.3937 | 8076.1892 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8093.3123 | 8092.0613 | 8098.3463 | 8097.0833 | 8098.3463 | 8098.3463 | 8082.1603 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8086.1796 | 8086.1796 | 8098.3463 | 8098.3463 | 8071.4187 | 8071.4187 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8080.1651 | 8084.2482 | 8094.2597 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8007.7648 | 8119.1457 | 8030.1002 | 8096.721 | 8055.2179 | 8098.3463 | 8055.7073 | 8097.8557 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8096.7425 | 8096.7425 | 8097.478 | 8097.478 | 8097.9121 | 8097.9121 | 8086.4517 | 8090.0111 | 8083.4323 | 8083.4323 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8092.6643 | 8098.3463 | 8098.3463 | 8098.3463 | 8100.2651 | 8100.2651 | 8100.2651 | 8100.2651 | 8098.6073 | 8105.6618 | 8099.2227 | 8104.3402 | 8091.974 | 8101.0468 | 8098.3463 | 8098.3463 | 8098.3463 | 8102.3268 | 8098.3463 | 8098.9727 | 8098.3463 | 8098.3463 | 8101.0468 | 8098.3463 | 8098.3463 | 8098.3463 | 8102.3268 | 8098.3463 | 8098.9727 | 8098.3463 | 8098.3463 | 8101.0468 | 8098.3463 | 8098.3463 | 8098.3463 | 8102.3268 | 8098.3463 | 8098.9727 | 8098.3463 | 8098.3463 | 8101.0468 | 8098.3463 | 8098.3463 | 8098.3463 | 8102.3268 | 8098.3463 | 8098.9727 | 8098.3463 | 8098.3463 | 7702.2714 | 8234.8723 | 8112.638 | 8114.6798 | 8098.3463 | 8104.8795 | 8143.8802 | 8150.3863 | 8098.3463 | 8119.16 | 8016.3635 | 8087.5491 | 8098.3463 | 8315.5983 | 8098.3463 | 8098.3463 | 8101.9377 | 8098.3463
-2% | 8084.1178 | 8083.5726 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8094.985 | 8094.148 | 8098.3463 | 8097.504 | 8098.3463 | 8098.3463 | 8087.4996 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8090.2344 | 8090.2344 | 8098.3463 | 8098.3463 | 8080.3911 | 8080.3911 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8086.2232 | 8088.9466 | 8095.6214 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8037.9189 | 8112.2104 | 8052.8267 | 8097.2627 | 8069.585 | 8098.3463 | 8069.9116 | 8098.0192 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8097.277 | 8097.277 | 8097.7674 | 8097.7674 | 8098.0568 | 8098.0568 | 8090.4159 | 8092.7866 | 8088.4024 | 8088.4024 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8094.5581 | 8098.3463 | 8098.3463 | 8098.3463 | 8099.6066 | 8099.6066 | 8099.6066 | 8099.6066 | 8098.5203 | 8103.2201 | 8098.9338 | 8102.3887 | 8094.0867 | 8100.1461 | 8098.3463 | 8098.3463 | 8098.3463 | 8100.9992 | 8098.3463 | 8098.7639 | 8098.3463 | 8098.3463 | 8100.1461 | 8098.3463 | 8098.3463 | 8098.3463 | 8100.9992 | 8098.3463 | 8098.7639 | 8098.3463 | 8098.3463 | 8100.1461 | 8098.3463 | 8098.3463 | 8098.3463 | 8100.9992 | 8098.3463 | 8098.7639 | 8098.3463 | 8098.3463 | 8100.1461 | 8098.3463 | 8098.3463 | 8098.3463 | 8100.9992 | 8098.3463 | 8098.7639 | 8098.3463 | 8098.3463 | 7833.9909 | 8189.2845 | 8107.8739 | 8109.2351 | 8098.3463 | 8102.7017 | 8128.7006 | 8133.0375 | 8098.3463 | 8112.2218 | 8043.66 | 8091.148 | 8098.3463 | 8241.7031 | 8098.3463 | 8098.3463 | 8100.7161 | 8098.3463
-1% | 8091.1063 | 8090.9583 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8096.663 | 8096.243 | 8098.3463 | 8097.925 | 8098.3463 | 8098.3463 | 8092.895 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8094.29 | 8094.29 | 8098.3463 | 8098.3463 | 8089.3669 | 8089.3669 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8092.2836 | 8093.646 | 8096.9836 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8068.1125 | 8105.2773 | 8075.5753 | 8097.8045 | 8083.9611 | 8098.3463 | 8084.1245 | 8098.1827 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8097.8116 | 8097.8116 | 8098.0568 | 8098.0568 | 8098.2016 | 8098.2016 | 8094.3808 | 8095.565 | 8093.3738 | 8093.3738 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8096.4521 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.9671 | 8098.9671 | 8098.9671 | 8098.9671 | 8098.4333 | 8100.7816 | 8098.6416 | 8100.3909 | 8096.211 | 8099.2459 | 8098.3463 | 8098.3463 | 8098.3463 | 8099.6723 | 8098.3463 | 8098.5551 | 8098.3463 | 8098.3463 | 8099.2459 | 8098.3463 | 8098.3463 | 8098.3463 | 8099.6723 | 8098.3463 | 8098.5551 | 8098.3463 | 8098.3463 | 8099.2459 | 8098.3463 | 8098.3463 | 8098.3463 | 8099.6723 | 8098.3463 | 8098.5551 | 8098.3463 | 8098.3463 | 8099.2459 | 8098.3463 | 8098.3463 | 8098.3463 | 8099.6723 | 8098.3463 | 8098.5551 | 8098.3463 | 8098.3463 | 7966.0292 | 8143.7727 | 8103.11 | 8103.7906 | 8098.3463 | 8100.524 | 8113.5227 | 8115.6908 | 8098.3463 | 8105.2839 | 8070.988 | 8094.747 | 8098.3463 | 8169.3007 | 8098.3463 | 8098.3463 | 8099.5193 | 8098.3463
1% | 8105.8259 | 8105.7367 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8100.0349 | 8100.4579 | 8098.3463 | 8098.768 | 8098.3463 | 8098.3463 | 8103.8537 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8102.4033 | 8102.4033 | 8098.3463 | 8098.3463 | 8107.3292 | 8107.3292 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8104.4113 | 8103.0476 | 8099.7096 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8128.6209 | 8091.4175 | 8121.14 | 8098.8882 | 8112.7406 | 8098.3463 | 8112.5769 | 8098.5099 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.8811 | 8098.8811 | 8098.6358 | 8098.6358 | 8098.491 | 8098.491 | 8102.3125 | 8101.1304 | 8103.3201 | 8103.3201 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8100.2406 | 8098.3463 | 8098.3463 | 8098.3463 | 8097.7444 | 8097.7444 | 8097.7444 | 8097.7444 | 8098.2593 | 8095.9142 | 8098.0479 | 8096.2545 | 8100.4922 | 8097.4473 | 8098.3463 | 8098.3463 | 8098.3463 | 8097.0211 | 8098.3463 | 8098.1376 | 8098.3463 | 8098.3463 | 8097.4473 | 8098.3463 | 8098.3463 | 8098.3463 | 8097.0211 | 8098.3463 | 8098.1376 | 8098.3463 | 8098.3463 | 8097.4473 | 8098.3463 | 8098.3463 | 8098.3463 | 8097.0211 | 8098.3463 | 8098.1376 | 8098.3463 | 8098.3463 | 8097.4473 | 8098.3463 | 8098.3463 | 8098.3463 | 8097.0211 | 8098.3463 | 8098.1376 | 8098.3463 | 8098.3463 | 8230.908 | 8053.0165 | 8093.5828 | 8092.9023 | 8098.3463 | 8096.1687 | 8083.1716 | 8081.0039 | 8098.3463 | 8091.4091 | 8125.7337 | 8101.9458 | 8098.3463 | 8028.797 | 8098.3463 | 8098.3463 | 8097.1966 | 8098.3463
2% | 8113.5336 | 8113.1294 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8101.7288 | 8102.5778 | 8098.3463 | 8099.1899 | 8098.3463 | 8098.3463 | 8109.4172 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8106.4611 | 8106.4611 | 8098.3463 | 8098.3463 | 8116.3156 | 8116.3156 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8110.4785 | 8107.7499 | 8101.0734 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8158.937 | 8084.4908 | 8143.9567 | 8099.4302 | 8127.1441 | 8098.3463 | 8126.8164 | 8098.6734 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8099.4159 | 8099.4159 | 8098.9253 | 8098.9253 | 8098.6358 | 8098.6358 | 8106.2795 | 8103.9173 | 8108.295 | 8108.295 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8102.1352 | 8098.3463 | 8098.3463 | 8098.3463 | 8097.1613 | 8097.1613 | 8097.1613 | 8097.1613 | 8098.1723 | 8093.4852 | 8097.7463 | 8094.1151 | 8102.6482 | 8096.5488 | 8098.3463 | 8098.3463 | 8098.3463 | 8095.6967 | 8098.3463 | 8097.9288 | 8098.3463 | 8098.3463 | 8096.5488 | 8098.3463 | 8098.3463 | 8098.3463 | 8095.6967 | 8098.3463 | 8097.9288 | 8098.3463 | 8098.3463 | 8096.5488 | 8098.3463 | 8098.3463 | 8098.3463 | 8095.6967 | 8098.3463 | 8097.9288 | 8098.3463 | 8098.3463 | 8096.5488 | 8098.3463 | 8098.3463 | 8098.3463 | 8095.6967 | 8098.3463 | 8097.9288 | 8098.3463 | 8098.3463 | 8363.6861 | 8007.7965 | 8088.8194 | 8087.4585 | 8098.3463 | 8093.9911 | 8067.9985 | 8063.6637 | 8098.3463 | 8084.4722 | 8153.1489 | 8105.5455 | 8098.3463 | 7960.6114 | 8098.3463 | 8098.3463 | 8096.0694 | 8098.3463
3% | 8121.4585 | 8120.5245 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8103.4281 | 8104.706 | 8098.3463 | 8099.6123 | 8098.3463 | 8098.3463 | 8115.0369 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8110.5195 | 8110.5195 | 8098.3463 | 8098.3463 | 8125.3056 | 8125.3056 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8116.5481 | 8112.4531 | 8102.4378 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8189.2952 | 8077.5662 | 8166.7967 | 8099.9723 | 8141.5569 | 8098.3463 | 8141.065 | 8098.837 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8099.9509 | 8099.9509 | 8099.2148 | 8099.2148 | 8098.7805 | 8098.7805 | 8110.2471 | 8106.7069 | 8113.2712 | 8113.2712 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8104.0299 | 8098.3463 | 8098.3463 | 8098.3463 | 8096.597 | 8096.597 | 8096.597 | 8096.597 | 8098.0854 | 8091.0595 | 8097.4416 | 8091.9276 | 8104.8137 | 8095.6508 | 8098.3463 | 8098.3463 | 8098.3463 | 8094.3731 | 8098.3463 | 8097.7201 | 8098.3463 | 8098.3463 | 8095.6508 | 8098.3463 | 8098.3463 | 8098.3463 | 8094.3731 | 8098.3463 | 8097.7201 | 8098.3463 | 8098.3463 | 8095.6508 | 8098.3463 | 8098.3463 | 8098.3463 | 8094.3731 | 8098.3463 | 8097.7201 | 8098.3463 | 8098.3463 | 8095.6508 | 8098.3463 | 8098.3463 | 8098.3463 | 8094.3731 | 8098.3463 | 8097.7201 | 8098.3463 | 8098.3463 | 8496.6572 | 7962.7017 | 8084.0562 | 8082.0149 | 8098.3463 | 8091.8135 | 8052.8271 | 8046.3256 | 8098.3463 | 8077.5357 | 8180.5911 | 8109.1454 | 8098.3463 | 7893.7498 | 8098.3463 | 8098.3463 | 8094.9641 | 8098.3463
4% | 8129.5903 | 8127.922 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8105.1326 | 8106.8425 | 8098.3463 | 8100.0349 | 8098.3463 | 8098.3463 | 8120.7127 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8114.5787 | 8114.5787 | 8098.3463 | 8098.3463 | 8134.2992 | 8134.2992 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8122.6199 | 8117.1573 | 8103.8027 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8219.6962 | 8070.6438 | 8189.6604 | 8100.5145 | 8155.9791 | 8098.3463 | 8155.3226 | 8099.0006 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8100.4859 | 8100.4859 | 8099.5044 | 8099.5044 | 8098.9253 | 8098.9253 | 8114.2154 | 8109.4993 | 8118.2486 | 8118.2486 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8105.9247 | 8098.3463 | 8098.3463 | 8098.3463 | 8096.0516 | 8096.0516 | 8096.0516 | 8096.0516 | 8097.9984 | 8088.6368 | 8097.1338 | 8089.6917 | 8106.9883 | 8094.7534 | 8098.3463 | 8098.3463 | 8098.3463 | 8093.0503 | 8098.3463 | 8097.5115 | 8098.3463 | 8098.3463 | 8094.7534 | 8098.3463 | 8098.3463 | 8098.3463 | 8093.0503 | 8098.3463 | 8097.5115 | 8098.3463 | 8098.3463 | 8094.7534 | 8098.3463 | 8098.3463 | 8098.3463 | 8093.0503 | 8098.3463 | 8097.5115 | 8098.3463 | 8098.3463 | 8094.7534 | 8098.3463 | 8098.3463 | 8098.3463 | 8093.0503 | 8098.3463 | 8097.5115 | 8098.3463 | 8098.3463 | 8629.802 | 7917.7492 | 8079.2932 | 8076.5716 | 8098.3463 | 8089.636 | 8037.6574 | 8028.9897 | 8098.3463 | 8070.5995 | 8208.0591 | 8112.7455 | 8098.3463 | 7828.1739 | 8098.3463 | 8098.3463 | 8093.8801 | 8098.3463
5% | 8137.9192 | 8135.3219 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8106.8425 | 8108.9873 | 8098.3463 | 8100.4579 | 8098.3463 | 8098.3463 | 8126.4448 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8118.6386 | 8118.6386 | 8098.3463 | 8098.3463 | 8143.2964 | 8143.2964 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8128.6939 | 8121.8625 | 8105.1682 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8250.1406 | 8063.7234 | 8212.5479 | 8101.0568 | 8170.4107 | 8098.3463 | 8169.5893 | 8099.1642 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8101.021 | 8101.021 | 8099.7939 | 8099.7939 | 8099.07 | 8099.07 | 8118.1844 | 8112.2945 | 8123.2272 | 8123.2272 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8107.8197 | 8098.3463 | 8098.3463 | 8098.3463 | 8095.525 | 8095.525 | 8095.525 | 8095.525 | 8097.9114 | 8086.2174 | 8096.8228 | 8087.4069 | 8109.1713 | 8093.8566 | 8098.3463 | 8098.3463 | 8098.3463 | 8091.7283 | 8098.3463 | 8097.3028 | 8098.3463 | 8098.3463 | 8093.8566 | 8098.3463 | 8098.3463 | 8098.3463 | 8091.7283 | 8098.3463 | 8097.3028 | 8098.3463 | 8098.3463 | 8093.8566 | 8098.3463 | 8098.3463 | 8098.3463 | 8091.7283 | 8098.3463 | 8097.3028 | 8098.3463 | 8098.3463 | 8093.8566 | 8098.3463 | 8098.3463 | 8098.3463 | 8091.7283 | 8098.3463 | 8097.3028 | 8098.3463 | 8098.3463 | 8763.1046 | 7872.9561 | 8074.5304 | 8071.1285 | 8098.3463 | 8087.4585 | 8022.4894 | 8011.6561 | 8098.3463 | 8063.6637 | 8235.5519 | 8116.3458 | 8098.3463 | 7763.8472 | 8098.3463 | 8098.3463 | 8092.8167 | 8098.3463
Base | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463 | 8098.3463